## 1-Input study rankings
Ranking of study types (type of dataset) by an expert panel member
Endpoint decision: “Determine if pretreatment units will meet BOD5 and TSS concentrations of 30 mg/l in field systems in the long-term”.
The applicability of each study type (type of dataset) is ranked by each individual expert panel member for the decision endpoint | Expert panel member # (insert here) | Name (insert here)
Study Type | Ranking assigned | Study Type | Ranking assigned
A. Field datasets that are published in refereed journal articles | enter data here | F. Demonstration project datasets such as NODP-like, NDWDP-like, EPA/319h projects | enter data here
B. Laboratory and bench-top datasets that are published in refereed journal articles | enter data here | G. State and county regulatory datasets composed of compliance data samples. | enter data here
C. Datasets in independent published university and governmental research reports, not peer reviewed | enter data here | H. Vendor developed research reports and/or journal articles that are peer-reviewed. | enter data here
D. Exploratory datsasets developed by independent university or government researchers. | enter data here | I. Vendor developed research reports, not peer reviewed | enter data here
E. Test center datasets developed using specified protocols such as NSF-like or ETV-like | enter data here | J. Vendor developed datasets (data only) without a summary report | enter data here
Developed by the On-Site Wastewater Corporation and Michael T. Hoover for NEIWPCC.
Note on C3: Insert name of expert panel member unless it is a blind assessment
Note on A4: There are 10 different types of studies identified (A thru J), each with its own value for assessing a particular decision endpoint. These study types can be ranked prior to assessing any data so as to determine the value of that particular type of dataset for a specific decision endpoint. The ranking values assigned will vary depending upon the type of decision endpoint that is being considered. Study types A thru E are included in this column.
Note on B4: Each study type is assigned a ranking from 0.1 to 1.0. A ranking of 1.0 is a type of study that will be very valuable for determining whether a particular decision endpoint has been reached.A ranking of 0.1 will be least valuable.
Note on D4: Each study type is assigned a ranking from 0.1 to 1.0. A ranking of 1.0 is a type of study that will be very valuable for determining whether a particular decision endpoint has been reached.A ranking of 0.1 will be least valuable.
Note on C4: There are 10 different types of studies identified (A thru J), each with its own value for assessing a particular decision endpoint. These study types can be ranked prior to assessing any data so as to determine the value of that particular type of dataset for a specific decision endpoint. The ranking values assigned will vary depending upon the type of decision endpoint that is being considered. Study types F thru J are included in this column.
Note on A10: Rights of use given to NEIWPCC and EPA, however rights also reserved for use by Michael Hoover and The On-Site Wastewater Corporation, Cary, NC
Note on B5: Enter value between 0.1 and 1.0; 1.0 represents the most valued type of study. We suggest that you assign a value of 1.0 to the most valued study and then assign a value of 0.1 to the least valued type of study. Following that, assign appropriate values (from 0.1 - 1.0) to the other study types. Multiple study types can have the same ranking value.
Note on B3: Each individual expert panel member should receive a copy of spreadsheet # 1 to record their ranking values.
Note on B6: Enter value between 0.1 and 1.0; 1.0 represents the most valued type of study. We suggest that you assign a value of 1.0 to the most valued study and then assign a value of 0.1 to the least valued type of study. Following that, assign appropriate values (from 0.1 - 1.0) to the other study types. Multiple study types can have the same ranking value.
Note on B7: Enter value between 0.1 and 1.0; 1.0 represents the most valued type of study. We suggest that you assign a value of 1.0 to the most valued study and then assign a value of 0.1 to the least valued type of study. Following that, assign appropriate values (from 0.1 - 1.0) to the other study types. Multiple study types can have the same ranking value.
Note on B8: Enter value between 0.1 and 1.0; 1.0 represents the most valued type of study. We suggest that you assign a value of 1.0 to the most valued study and then assign a value of 0.1 to the least valued type of study. Following that, assign appropriate values (from 0.1 - 1.0) to the other study types. Multiple study types can have the same ranking value.
Note on B9: Enter value between 0.1 and 1.0; 1.0 represents the most valued type of study. We suggest that you assign a value of 1.0 to the most valued study and then assign a value of 0.1 to the least valued type of study. Following that, assign appropriate values (from 0.1 - 1.0) to the other study types. Multiple study types can have the same ranking value.
Note on D9: Enter value between 0.1 and 1.0; 1.0 represents the most valued type of study. We suggest that you assign a value of 1.0 to the most valued study and then assign a value of 0.1 to the least valued type of study. Following that, assign appropriate values (from 0.1 - 1.0) to the other study types. Multiple study types can have the same ranking value.
Note on D8: Enter value between 0.1 and 1.0; 1.0 represents the most valued type of study. We suggest that you assign a value of 1.0 to the most valued study and then assign a value of 0.1 to the least valued type of study. Following that, assign appropriate values (from 0.1 - 1.0) to the other study types. Multiple study types can have the same ranking value.
Note on D7: Enter value between 0.1 and 1.0; 1.0 represents the most valued type of study. We suggest that you assign a value of 1.0 to the most valued study and then assign a value of 0.1 to the least valued type of study. Following that, assign appropriate values (from 0.1 - 1.0) to the other study types. Multiple study types can have the same ranking value.
Note on D6: Enter value between 0.1 and 1.0; 1.0 represents the most valued type of study. We suggest that you assign a value of 1.0 to the most valued study and then assign a value of 0.1 to the least valued type of study. Following that, assign appropriate values (from 0.1 - 1.0) to the other study types. Multiple study types can have the same ranking value.
Note on D5: Enter value between 0.1 and 1.0; 1.0 represents the most valued type of study. We suggest that you assign a value of 1.0 to the most valued study and then assign a value of 0.1 to the least valued type of study. Following that, assign appropriate values (from 0.1 - 1.0) to the other study types. Multiple study types can have the same ranking value.

## 2-Input attribute weights
Weights assigned to data quality and quantity attributes for each study type by an expert panel member
Decision Endpoint: “determine if pretreatment units will meet BOD5 and TSS concentrations of 30 mg/l in field systems in the long-term”.
Expert Panel Member # (insert here) | Name (insert here)
Study types (measurement endpoints). A separate evaluation is made for each of the 10 separate study types. |  | ---------------------------------- Weights assigned for data quality/quantity attributes (columns) for each of the 10 study types (rows) ---------------------------------- | [7 empty] | Total
Data attribute to be evaluated |  | Performance data | Flow data | Replication | Experimental control | Environmental conditions | O&M conducted | Third-party character | Peer-review character
Weights are assigned from 0.0 to 8.0 for each of the 8 data attributes by comparing the importance of each attribute when analyzing data form that type of study. |  | How important is performance data collected for this type of study considering the decision endpoint? | How critical is it that the flow rates tested are the same as those that will be used in the field for this decision endpoint? | How important is replication in this type of study considering the decision endpoint being answered? | What weight should be assigned to the importance of experimental control for this type of study and decision endpoint? | How much weight should be assigned to testing a wide range of environmental conditions (soils, climate, etc) considering the decision? | What weight should be assigned to matching the O&M used during testing to that used under field conditions? | Is third party independence important for this type of dataset and decision endpoint? If so, how important? | How much weight should be given to the degree of internal and external peer-review of the study?
Study Type A - Field datasets published in refereed journal articles |  | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | 0
Calculated relative weight for Type A study |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Study Type B - Laboratory and bench-top datasets in refereed journal articles |  | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | 0
Calculated relative weight for Type B study |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Study Type C - Datasets published by university and gov't research reports |  | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | 0
Calculated relative weight for Type C study |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Study Type D - Exploratory datsasets by university or gov't researchers |  | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | 0
Calculated relative weight for Type D study |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Study Type E - Test center datasets w/ controlled protocols (eg NSF-like) |  | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | 0
Calculated relative weight for Type E study |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Study Type F - Demonstration project datasets (eg NODP-like, 319h, etc) |  | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | 0
Calculated relative weight for Type F study |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Study Type G - State and county regulatory datasets of compliance samples |  | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | 0
Calculated relative weight for Type G study |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Study Type H - Vendor research and journal articles that are peer-reviewed |  | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | 0
Calculated relative weight for Type H study |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Study Type I - Vendor research reports that are not peer-reviewed |  | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | 0
Calculated relative weight for Type I study |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Study Type J - Vendor, manufacturer and inventor datasets not interpreted |  | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | 0
Calculated relative weight for Type J study |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Developed by the On-Site Wastewater Corporation and Michael T. Hoover for NEIWPCC.
Note on A6: Within each study type all 8 of the data attributes are evaluated and weighted so as to determine the most important data attribute (assigned a maximum weight of 8) and the least important data attribute (assigned a minimum weight of 1). At least one of the 8 data attributes must be assigned a value of 8.0 and then the other 7 data attributes are given weights (between 1.0 and 8.0 as appropriate) according to their relative importance for the particular decision endpoint being considered using that type of study or dataset (eg rows below). The weights assigned by each panel member are then converted to relative weights so that the calculated weighting assigned for each of the data atrributes is on a relative scale of 0.0 to 8.0.
Note on A5: The relative importance for each of the 8 data attributes is weighted prior to actually evaluating data from a particular study. The weights are given relative to one another for one category of research data (eg study type A, B, etc) based upon the importance of that data attribute for that particular decision endpoint. Then the process is repeated for each of the 10 types of datasets. Once this has been completed separately by each expert panel member the averages of their weightings will be calculated to determine the overall importance for each of the 8 data attributes in each of the 10 study types for that decision endpoint.
Note on G6: Relative weight assigned to performance data ( eg. BOD and TSS) from research study for predicting the real system performance considering wastewater strength, mean, median, s.d, CV, model unit or system type tested, grab vs composite samples and time composite vs flow composite sampling in this type of study
Note on H6: Relative weight assigned to flow data from the research study for predicting the real system performance considering daily flow, monthly flow, peak flow, minimum and maximum flow, stress flow conditions, number of people or bedrooms and design flow tested in this stype of study
Note on I6: Relative weight assigned to replication in the research study for predicting the real system performance considering replication of study sites/systems in the study, sample replication within sites/systems, replication of samples for QA/QC laboratory analyses for this type of study
Note on A27: Rights of use given to NEIWPCC and EPA, however rights also reserved for use by Michael Hoover and The On-Site Wastewater Corporation, Cary, NC.
Note on J6: Relative weight assigned to the degree and extent of experimental control during the research study for predicting the real system performance considering the degree of experimental control in the study over extraneous or environmental conditions that could influence performance and use of (1) either a standard or experimental control (2) a statistically significant designed comparison, (3) a QAPP, and (4) a certified lab in the study
Note on K6: Relative weight assigned to the range of environmental conditions tested in the research study for predicting the real system performance considering the range and appropriateness of climatic conditions tested, the soil conditions and landscape position conditions used at the study sites, and breadth of environmental conditions studied
Note on L6: Relative weights assigned to the importance of comparability of the system O&M provided during the research study to the extent of O&M that will be needed to predict real system performance
Note on A7: Each of the 10 study types is evaluated separately. Weights are assigned within each study type by comparing the importance of the 8 data attributes for that type of dataset.
Note on M6: Relative weights assigned to the importance of the extent of third party independence of the research organization and principal investigators who conduct the study from the manufacturing company or other entity that will potentially benefit from the study results if a regulatory approval is issued
Note on N6: Relative weights assigned to the degree of peer review of the research protocol, the research report and its conclusions as well as the final research publications such as journal articles or other publications
Note on E3: Name of expert panel member making these rankings unless it is a blind weighting assessment

## 3-Input data scores
Scores assigned based upon a specific dataset for data quality and quantity attributes for that particular study by an expert panel member
Decision Endpoint: “determine if pretreatment units will meet BOD5 and TSS concentrations of 30 mg/l in field systems in the long-term”.
Developed by the On-Site Wastewater Corporation and Michael T. Hoover for NEIWPCC.
Expert Panel Member # and name:
Name or identity of this particular research study or dataset: |  |  | Study No.
Source for this research study or dataset:
Name of individual/organization submitting this study or dataset:
Study Type = A, B, C, D, E, F, G, H, I, or J:
Scores for each data attribute | -------------------------------------------- Scores assigned for data from this study ------------------------------------------
Data attribute to be evaluated | Performance data | Flow data | Replication | Experimental control | Environmental conditions | O&M conducted | Third-party character | Peer-review character
Evaluation of results from this specific study | Did the performance data results from this particular study indicate the system met the desired decision endpoint? Was there adequate data for this type of study? | Did the flow rates tested for in this particular study match those needed to answer the decision endpoint question? | Did this particular study have good replication of sampling, lab analysis, etc considering the type of data? | Was the amount of experimental control used during this particular study adequate for controlling outside extraneous influences on the results? | Were the range of environmental conditions such as weather conditions, soil types, etc. examined during this study appropriate for answering the decision endpoint question being asked? | Was the O&M provided during this research study similar to that expected during system use in real life for the decision endpoint question being considered? | How independent was the research organization that conducted this study from the organizations that could potentially benefit from its results (eg manufacturing company, regulatory agnency, etc)? | How much internal and external peer review was used during the planning, design and assessment of the results from this particular study?
Score assigned for each data attrribute (between 0.0 and 1.0) are marked to the right | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here | enter data here
Note on A9: Scores are assigned by each panel member. Assign scores between 0.0 and 1.0 on the basis of the actual data collected from a study for each of the 8 data attributes
Note on E12: A data score of 1.0 would be assigned if the technology is performing correctly, for instance, BOD < 30 mg/l as defined in the Decision Endpoint. On the other hand, if too many of the samples are > 30 mg/l, then a score 0.0 would be assigned. Intermediate scores would be used depending on the expert panel member's judgement of the performance data.
Note on G12: Data score assigned based upon evaluation of the degree of replication used in this research study and whether the type of replication used was beneficial for predicting the real system performance in the field considering replication of study sites/systems in the study, number of systems studied, sample replication within sites/systems, replication of samples for QA/QC laboratory analyses for this type of study
Note on H12: Data score assigned based upon the degree and extent of experimental control used during this research study and whether the extent of experimental control used in this study was beneficial for predicting the real system performance considering the degree of experimental control used to limit outside unrelated extraneous or environmental conditions that could influence performance and use of (1) either a standard or experimental control (2) a statistically significant designed comparison, (3) a QAPP, and (4) a certified lab in the study
Note on I12: Data score assigned based upon the range of environmental conditions tested in this research study and the relativeness of that range of environmental conditions to those expected to infulence real system performance considering the range and appropriateness of climatic conditions tested, the soil conditions and landscape position conditions used at the study sites, and breadth of environmental conditions studied
Note on J12: Data score assigned based upon the comparability of the system O&M provided during this research study to the extent of O&M that will be required in the field after a potential approval of the technology for real system use. In other words, how well did the study results show that the system functioned properly during the research study under O&M conditions similar to those that will be required once the technology is approved for use.
Note on L12: Data score assigned for this study based upon the degree of peer review used in the research protocol and in the development of this research report as well as the publication outlet such as journal articles or other peer-reviewed publications vs scientific proceedings, governmental reports or manufacturer reports. In other words, the greater the extent of peer-review used in the study and its publication, the higher the score assigned for this data attribute
Note on K12: Data score assigned based upon the extent of third party independence of the research organization and principal investigators who conducted this study from the manufacturing company or other entity that will potentially benefit from the study results if a regulatory approval is issued
Note on A12: An evaluation is made of the data submitted for this particular study or dataset for the decision endpoint at hand. Scores are assigned for each of the eight data quality/quantity attributes. Scores range from 0.0 to 1.0 for each. A score of 1.0 is assigned if the data and study results from that particular are well done for that data atribute and support the endpoint decision at hand. A score of 0.0 is asigned if the study was poorly conducted relative to that particular data attribute or the study results do not support the endpoint decision at hand.
Note on A8: Study types are described in the text. The type of study (and its ranking by the expert panel) controls the maximum total points possible
Note on A10: There are 8 data attributes for each research study that are scored by the expert panel
Note on A6: Provide the source for this study (eg journal, research report citation, database citation, etc.)
Note on A7: Provide the name and contact information for the source of this research study
Note on A5: Provide a study number or brief formal name for this research study so as to track information about it (eg "NSF/ETV Biohiggins study")
Note on A4: Name of expert panel member determining these research study scores unless it is a blind assessment
Note on A11: All study results are made relative to the quantity and quality of data for then specific decision endpoint being considered here. Study results can be scored differently depending upon the decision endpoint for which the data are being evaluated.
Note on E11: Data score assigned to performance data (eg. BOD and TSS) for this particular study results based upon the system performance data collected and its comparability to the wastewater strength, mean, median, s.d, CV of quantitative performance, the comparability of the data model unit or system type tested to the technology proposed for use in the field and the comparability of the type of data (grab vs composite samples and time composite vs flow composite sampling) used in this dataset to the type of data that will be used in the field for assessing compliance.
Note on A3: Rights of use given to NEIWPCC and EPA, however rights also reserved for use by Michael Hoover and The On-Site Wastewater Corporation, Cary, NC.
Note on F12: A data score of 1.0 would be assigned if the technology is performing correctly, for instance, BOD < 30 mg/l as defined in the Decision Endpoint. On the other hand, if too many of the samples are > 30 mg/l, then a score 0.0 would be assigned. Intermediate scores would be used depending on the expert panel member's judgement of the performance data.

## 4-Performance weight summary
Summary of performance data attribute weights assigned by all of the expert panel members
Decision Endpoint: “Determine if pretreatment units will meet BOD5 and TSS concentrations of 30 mg/l in field systems in the long-term”.
Developed by the On-Site Wastewater Corporation and Michael T. Hoover for NEIWPCC.
Weights assigned for the importance of performance data by the expert panel members for 10 study types
Study types (Measurement endpoints) | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | Average weight for entire panel
Study Type A - Field datasets published in refereed journal articles | Weights assigned for the importance of performance data by the expert panel members for 10 study types #1: enter data | #DIV/0!
Study Type B - Laboratory and bench-top datasets in refereed journal articles | [10 empty] | #DIV/0!
Study Type C - Datasets published by university and gov't research reports | [10 empty] | #DIV/0!
Study Type D - Exploratory datsasets by university or gov't researchers | [10 empty] | #DIV/0!
Study Type E - Test center datasets using controlled protocols (eg NSF-like) | [10 empty] | #DIV/0!
Study Type F - Demonstration project datasets (eg NODP-like, 319h) | [10 empty] | #DIV/0!
Study Type G - State and county regulatory datasets of compliance samples | [10 empty] | #DIV/0!
Study Type H - Vendor research reports or journal articles with peer-review | [10 empty] | #DIV/0!
Study Type I - Vendor research reports that are not peer-reviewed | [10 empty] | #DIV/0!
Study Type J - Vendor, manufacturer and inventor datasets not interpreted | [10 empty] | #DIV/0!
Note on A3: Rights of use given to NEIWPCC and EPA, however rights also reserved for use by Michael Hoover and The On-Site Wastewater Corporation, Cary, NC
Note on G4: Hoover: Performance data. Relative weight assigned to performance data ( eg. BOD and TSS) from research study for predicting the real system performance considering wastewater strength, mean, median, s.d, CV, model unit or system type tested, grab vs composite samples and time composite vs flow composite sampling in this type of study
Note on G6: Enter data from spreadsheet #2 for all study types for each expert panel member. Do likewise for all other panel members.
Note on G5: Expert Panel Member #1

## 5-Flow data weight summary
Summary of flow data attribute weights assigned by all of the expert panel members
Decision Endpoint: “Determine if pretreatment units will meet BOD5 and TSS concentrations of 30 mg/l in field systems in the long-term”.
Developed by the On-Site Wastewater Corporation and Michael T. Hoover for NEIWPCC.
Weights assigned for the importance of flow data being comparable between the study and the field conditions by the expert panel members for 10 study types
Study types (Measurement endpoints) | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | Average weight for entire panel
Study Type A - Field datasets published in refereed journal articles | Weights assigned for the importance of flow data being comparable between the study and the field conditions by the expert panel members for 10 study types #1: enter data | #DIV/0!
Study Type B - Laboratory and bench-top datasets in refereed journal articles | [10 empty] | #DIV/0!
Study Type C - Datasets published by university and gov't research reports | [10 empty] | #DIV/0!
Study Type D - Exploratory datsasets by university or gov't researchers | [10 empty] | #DIV/0!
Study Type E - Test center datasets using controlled protocols (eg NSF-like) | [10 empty] | #DIV/0!
Study Type F - Demonstration project datasets (eg NODP-like, 319h) | [10 empty] | #DIV/0!
Study Type G - State and county regulatory datasets of compliance samples | [10 empty] | #DIV/0!
Study Type H - Vendor research reports or journal articles with peer-review | [10 empty] | #DIV/0!
Study Type I - Vendor research reports that are not peer-reviewed | [10 empty] | #DIV/0!
Study Type J - Vendor, manufacturer and inventor datasets not interpreted | [10 empty] | #DIV/0!
Note on G4: Hoover: Flow data. Relative weight assigned to flow data from the research study for predicting the real system performance considering daily flow, monthly flow, peak flow, minimum and maximum flow, stress flow conditions, number of people or bedrooms and design flow tested in this stype of study
Note on G6: Enter data from spreadsheet #2 for all study types for each expert panel member. Do likewise for all other panel members.
Note on J3: Rights of use given to NEIWPCC and EPA, however rights also reserved for use by Michael Hoover and The On-Site Wastewater Corporation, Cary, NC.
Note on G5: Expert Panel Member #1

## 6-Replication weight summary
Summary of relative weighting assigned for replication in a study assigned by all of the expert panel members
Decision Endpoint: “Determine if pretreatment units will meet BOD5 and TSS concentrations of 30 mg/l in field systems in the long-term”.
Developed by the On-Site Wastewater Corporation and Michael T. Hoover for NEIWPCC.
Weights assigned for the importance of replication by the expert panel members for 10 study types
Study types (Measurement endpoints) | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | Average weight for entire panel
Study Type A - Field datasets published in refereed journal articles | Weights assigned for the importance of replication by the expert panel members for 10 study types #1: enter data | #DIV/0!
Study Type B - Laboratory and bench-top datasets in refereed journal articles | [10 empty] | #DIV/0!
Study Type C - Datasets published by university and gov't research reports | [10 empty] | #DIV/0!
Study Type D - Exploratory datsasets by university or gov't researchers | [10 empty] | #DIV/0!
Study Type E - Test center datasets using controlled protocols (eg NSF-like) | [10 empty] | #DIV/0!
Study Type F - Demonstration project datasets (eg NODP-like, 319h) | [10 empty] | #DIV/0!
Study Type G - State and county regulatory datasets of compliance samples | [10 empty] | #DIV/0!
Study Type H - Vendor research reports or journal articles with peer-review | [10 empty] | #DIV/0!
Study Type I - Vendor research reports that are not peer-reviewed | [10 empty] | #DIV/0!
Study Type J - Vendor, manufacturer and inventor datasets not interpreted | [10 empty] | #DIV/0!
Note on G4: Hoover: Replication in a study. Relative weight assigned to replication in the research study for predicting the real system performance considering replication of study sites/systems in the study, sample replication within sites/systems, replication of samples for QA/QC laboratory analyses for this type of study
Note on J3: Rights of use given to NEIWPCC and EPA, however rights also reserved for use by Michael Hoover and The On-Site Wastewater Corporation, Cary, NC.
Note on G5: Expert Panel Member #1
Note on G6: Enter data from spreadsheet #2 for all study types for each expert panel member. Do likewise for all other panel members.

## 7-Exper. control weight summary
Summary of relative weighting assigned for the importance of experimental control in a study assigned by all of the expert panel members
Decision Endpoint: “Determine if pretreatment units will meet BOD5 and TSS concentrations of 30 mg/l in field systems in the long-term”.
Developed by the On-Site Wastewater Corporation and Michael T. Hoover for NEIWPCC.
Weights assigned for the importance of experimental control by the expert panel members for 10 study types
Study types (Measurement endpoints) | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | Average weight for entire panel
Study Type A - Field datasets published in refereed journal articles | Weights assigned for the importance of experimental control by the expert panel members for 10 study types #1: enter data | #DIV/0!
Study Type B - Laboratory and bench-top datasets in refereed journal articles | [10 empty] | #DIV/0!
Study Type C - Datasets published by university and gov't research reports | [10 empty] | #DIV/0!
Study Type D - Exploratory datsasets by university or gov't researchers | [10 empty] | #DIV/0!
Study Type E - Test center datasets using controlled protocols (eg NSF-like) | [10 empty] | #DIV/0!
Study Type F - Demonstration project datasets (eg NODP-like, 319h) | [10 empty] | #DIV/0!
Study Type G - State and county regulatory datasets of compliance samples | [10 empty] | #DIV/0!
Study Type H - Vendor research reports or journal articles with peer-review | [10 empty] | #DIV/0!
Study Type I - Vendor research reports that are not peer-reviewed | [10 empty] | #DIV/0!
Study Type J - Vendor, manufacturer and inventor datasets not interpreted | [10 empty] | #DIV/0!
Note on G4: Hoover: Experimental control. Relative weight assigned to the degree and extent of experimental control during the research study for predicting the real system performance considering the degree of experimental control in the study over extraneous or environmental conditions that could influence performance and use of (1) either a standard or experimental control (2) a statistically significant designed comparison, (3) a QAPP, and (4) a certified lab in the study
Note on J3: Rights of use given to NEIWPCC and EPA, however rights also reserved for use by Michael Hoover and The On-Site Wastewater Corporation, Cary, NC.
Note on G5: Expert Panel Member #1
Note on G6: Enter data from spreadsheet #2 for all study types for each expert panel member. Do likewise for all other panel members.

## 8-Env. cond. weight summary
Summary of relative weighting assigned for testing a broad range of environmental conditions in a study assigned by all of the expert panel members
Decision Endpoint: “Determine if pretreatment units will meet BOD5 and TSS concentrations of 30 mg/l in field systems in the long-term”.
Developed by the On-Site Wastewater Corporation and Michael T. Hoover for NEIWPCC.
Weights assigned for the importance of comparable range of environmental conditions between study and anticipated field use by expert panel members for 10 study types
Study types (Measurement endpoints) | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | Average weight for entire panel
Study Type A - Field datasets published in refereed journal articles | Weights assigned for the importance of comparable range of environmental conditions between study and anticipated field use by expert panel members for 10 study types #1: enter data | #DIV/0!
Study Type B - Laboratory and bench-top datasets in refereed journal articles | [10 empty] | #DIV/0!
Study Type C - Datasets published by university and gov't research reports | [10 empty] | #DIV/0!
Study Type D - Exploratory datsasets by university or gov't researchers | [10 empty] | #DIV/0!
Study Type E - Test center datasets using controlled protocols (eg NSF-like) | [10 empty] | #DIV/0!
Study Type F - Demonstration project datasets (eg NODP-like, 319h) | [10 empty] | #DIV/0!
Study Type G - State and county regulatory datasets of compliance samples | [10 empty] | #DIV/0!
Study Type H - Vendor research reports or journal articles with peer-review | [10 empty] | #DIV/0!
Study Type I - Vendor research reports that are not peer-reviewed | [10 empty] | #DIV/0!
Study Type J - Vendor, manufacturer and inventor datasets not interpreted | [10 empty] | #DIV/0!
Note on A3: Rights of use given to NEIWPCC and EPA, however rights also reserved for use by Michael Hoover and The On-Site Wastewater Corporation, Cary, NC.
Note on G4: Hoover: Environmental conditions. Relative weight assigned to the range of environmentqal conditions tested in the research study for predicting the real system performance considering the range and appropriateness of climatic conditions tested, the soil conditions and landscape position conditions used at the study sites, and breadth of environmental conditions studied
Note on G5: Expert Panel Member #1
Note on G6: Enter data from spreadsheet #2 for all study types for each expert panel member. Do likewise for all other panel members.

## 9-O&M weight summary
Summary of relative weighting assigned for the importance of having the same O&M conditions during the research as in the real life use of a system as assigned by all of the expert panel members
Decision Endpoint: “Determine if pretreatment units will meet BOD5 and TSS concentrations of 30 mg/l in field systems in the long-term”.
Developed by the On-Site Wastewater Corporation and Michael T. Hoover for NEIWPCC.
Weights assigned for the importance of comparable O&M between study and anticipated field use by expert panel members for 10 study types
Study types (Measurement endpoints) | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | Average weight for entire panel
Study Type A - Field datasets published in refereed journal articles | Weights assigned for the importance of comparable O&M between study and anticipated field use by expert panel members for 10 study types #1: enter data | #DIV/0!
Study Type B - Laboratory and bench-top datasets in refereed journal articles | [10 empty] | #DIV/0!
Study Type C - Datasets published by university and gov't research reports | [10 empty] | #DIV/0!
Study Type D - Exploratory datsasets by university or gov't researchers | [10 empty] | #DIV/0!
Study Type E - Test center datasets using controlled protocols (eg NSF-like) | [10 empty] | #DIV/0!
Study Type F - Demonstration project datasets (eg NODP-like, 319h) | [10 empty] | #DIV/0!
Study Type G - State and county regulatory datasets of compliance samples | [10 empty] | #DIV/0!
Study Type H - Vendor research reports or journal articles with peer-review | [10 empty] | #DIV/0!
Study Type I - Vendor research reports that are not peer-reviewed | [10 empty] | #DIV/0!
Study Type J - Vendor, manufacturer and inventor datasets not interpreted | [10 empty] | #DIV/0!
Note on A3: Rights of use given to NEIWPCC and EPA, however rights also reserved for use by Michael Hoover and The On-Site Wastewater Corporation, Cary, NC.
Note on G5: Expert Panel Member #1
Note on G6: Enter data from spreadsheet #2 for all study types for each expert panel member. Do likewise for all other panel members.

## 10-3rd party weight summary
Summary of relative weighting assigned for the importance of third party data collection and analysis in a study assigned by all of the expert panel members
Decision Endpoint: “Determine if pretreatment units will meet BOD5 and TSS concentrations of 30 mg/l in field systems in the long-term”.
Developed by the On-Site Wastewater Corporation and Michael T. Hoover for NEIWPCC.
Weights assigned for the importance of independent third party data collection by expert panel members for 10 study types
Study types (Measurement endpoints) | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | Average weight for entire panel
Study Type A - Field datasets published in refereed journal articles | Weights assigned for the importance of independent third party data collection by expert panel members for 10 study types #1: enter data | #DIV/0!
Study Type B - Laboratory and bench-top datasets in refereed journal articles | [10 empty] | #DIV/0!
Study Type C - Datasets published by university and gov't research reports | [10 empty] | #DIV/0!
Study Type D - Exploratory datsasets by university or gov't researchers | [10 empty] | #DIV/0!
Study Type E - Test center datasets using controlled protocols (eg NSF-like) | [10 empty] | #DIV/0!
Study Type F - Demonstration project datasets (eg NODP-like, 319h) | [10 empty] | #DIV/0!
Study Type G - State and county regulatory datasets of compliance samples | [10 empty] | #DIV/0!
Study Type H - Vendor research reports or journal articles with peer-review | [10 empty] | #DIV/0!
Study Type I - Vendor research reports that are not peer-reviewed | [10 empty] | #DIV/0!
Study Type J - Vendor, manufacturer and inventor datasets not interpreted | [10 empty] | #DIV/0!
Note on A3: Rights of use given to NEIWPCC and EPA, however rights also reserved for use by Michael Hoover and The On-Site Wastewater Corporation, Cary, NC.
Note on G4: Hoover: Third party characteristics. Relative weights assigned to the importance of the extent of third party independence of the research organization and principal investigators who conduct the study from the manufacturing company or other entity that will potentially benefit from the study results if a regulatory approval is issued
Note on G5: Expert Panel Member #1
Note on G6: Enter data from spreadsheet #2 for all study types for each expert panel member. Do likewise for all other panel members.

## 11-Peer review weight summary
Summary of relative weighting assigned for the importance of peer review in a study assigned by all of the expert panel members
Decision Endpoint: “Determine if pretreatment units will meet BOD5 and TSS concentrations of 30 mg/l in field systems in the long-term”.
Developed by the On-Site Wastewater Corporation and Michael T. Hoover for NEIWPCC.
Weights assigned for the importance of peer review by expert panel members for 10 study types
Study types (Measurement endpoints) | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | Average weight for entire panel
Study Type A - Field datasets published in refereed journal articles | Weights assigned for the importance of peer review by expert panel members for 10 study types #1: enter data | #DIV/0!
Study Type B - Laboratory and bench-top datasets in refereed journal articles | [10 empty] | #DIV/0!
Study Type C - Datasets published by university and gov't research reports | [10 empty] | #DIV/0!
Study Type D - Exploratory datsasets by university or gov't researchers | [10 empty] | #DIV/0!
Study Type E - Test center datasets using controlled protocols (eg NSF-like) | [10 empty] | #DIV/0!
Study Type F - Demonstration project datasets (eg NODP-like, 319h) | [10 empty] | #DIV/0!
Study Type G - State and county regulatory datasets of compliance samples | [10 empty] | #DIV/0!
Study Type H - Vendor research reports or journal articles with peer-review | [10 empty] | #DIV/0!
Study Type I - Vendor research reports that are not peer-reviewed | [10 empty] | #DIV/0!
Study Type J - Vendor, manufacturer and inventor datasets not interpreted | [10 empty] | #DIV/0!
Note on G4: Hoover: Peer review characteristics. Relative weights assigned to the degree of peer review of the research protocol, the research report and its conclusions as well as the final research publications such as journal articles or other publications
Note on H3: Rights of use given to NEIWPCC and EPA, however rights also reserved for use by Michael Hoover and The On-Site Wastewater Corporation, Cary, NC.
Note on G5: Expert Panel Member #1
Note on G6: Enter data from spreadsheet #2 for all study types for each expert panel member. Do likewise for all other panel members.

## 12-Ranking compilation
Ranking compilation of study types (type of dataset) by expert panel
Summary of ranking of study types (datasets) by the expert panel for the decision endpoint “Determine if pretreatment units will meet BOD5 and TSS concentrations of 30 mg/l in field systems in the long-term”.
Expert Panel Member #
Study type from Spreadsheet #1. Each study type is assigned a ranking from 0.1 to 1.0 | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10 | Average
A. Field datasets that are published in refereed journal articles | [10 empty] | #DIV/0!
B. Laboratory and bench-top datasets that are published in refereed journal articles | [10 empty] | #DIV/0!
C. Datasets in independent published university and governmental research reports, not peer reviewed | [10 empty] | #DIV/0!
D. Exploratory datsasets developed by independent university or government researchers. | [10 empty] | #DIV/0!
E. Test center datasets developed using specified protocols such as NSF-like | [10 empty] | #DIV/0!
F. Demonstration project datasets such as NODP-like, EPA/319h projects | [10 empty] | #DIV/0!
G. State and county regulatory datasets composed of compliance data samples. | [10 empty] | #DIV/0!
H. Vendor developed research reports and/or journal articles that are peer-reviewed. | [10 empty] | #DIV/0!
I Vendor developed research reports, not peer reviewed | [10 empty] | #DIV/0!
J. Vendor developed datasets (data only) without a summary report | [10 empty] | #DIV/0!
Developed by the On-Site Wastewater Corporation and Michael T. Hoover for NEIWPCC.
Note on B5: Enter data from spreadsheet #1 for all study types for each expert panel member. Do likewise for all other panel members.
Note on L5: Average expert panel ranking score for that study type.
Note on A16: Rights of use given to NEIWPCC and EPA, however rights also reserved for use by Michael Hoover and The On-Site Wastewater Corporation, Cary, NC.

## 13-Data weight compilation
Summary of calculated relative data weighting assigned by the expert panel for all study types
Decision Endpoint: “Determine if pretreatment units will meet BOD5 and TSS concentrations of 30 mg/l in field systems in the long-term”.
| -------------------------------------------- Summary of relative weights assigned for data attributes for all study types ------------------------------------------ | [7 empty] | Total
Study type | Performance data | Flow data | Replication | Experimental control | Environmental conditions | O&M conducted | Third-party character | Peer-review character
Study Type A | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Study Type B | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Study Type C | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Study Type D | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Study Type E | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Study Type F | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Study Type G | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Study Type H | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Study Type I | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Study Type J | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Developed by the On-Site Wastewater Corporation and Michael T. Hoover for NEIWPCC.
Note on D5: Data score assigned to performance data (eg. BOD and TSS) for this particular study results based upon the system performance data collected and its comparability to the wastewater strength, mean, median, s.d, CV of quantitative performance, the comparability of the data model unit or system type tested to the technology proposed for use in the field and the comparability of the type of data (grab vs composite samples and time composite vs flow composite sampling) used in this dataset to the type of data that will be used in the field for assessing compliance.
Note on E5: Data score assigned for the flow data from this research study and its comparability to the flows that will be used for this technology in the field considering daily flow, monthly flow, peak flow, minimum and maximum flow, stress flow conditions, number of people or bedrooms and design flow tested in this stype of study.
Note on F5: Data score assigned based upon evaluation of the degree of replication used in this research study and whether the type of replication used was beneficial for predicting the real system performance in the field considering replication of study sites/systems in the study, number of systems studied, sample replication within sites/systems, replication of samples for QA/QC laboratory analyses for this type of study.
Note on G5: Data score assigned based upon the degree and extent of experimental control used during this research study and whether the extent of experimental control used in this study was beneficial for predicting the real system performance considering the degree of experimental control used to limit outside unrelated extraneous or environmental conditions that could influence performance and use of (1) either a standard or experimental control (2) a statistically significant designed comparison, (3) a QAPP, and (4) a certified lab in the study.
Note on H5: Data score assigned based upon the range of environmentqal conditions tested in this research study and the relativeness of that range of envirponmental conditions to those expected to infulence real system performance considering the range and appropriateness of climatic conditions tested, the soil conditions and landscape position conditions used at the study sites, and breadth of environmental conditions studied.
Note on I5: Data score assigned based upon the comparability of the system O&M provided during this research study to the extent of O&M that will be required in the field after a potential approval of the technology for real system use. In other words, how well did the study results show that the system functioned properly during the research study under O&M conditions similar to those that will be required once the technology is approved for use.
Note on J5: Data score assigned based upon the extent of third party independence of the research organization and principal investigators who conducted this study from the manufacturing company or other entity that will potentially benefit from the study results if a regulatory approval is issued.
Note on K5: Data score assigned for this study based upon the degree of peer review used in the research protocol and in the development of this research report as well as the publication outlet such as journal articles or other peer-reviewed publications vs scientific proceedings, governmental reports or manufacturer reports. In other words, the greater the extent of peer-review used in the study and its publication, the higher the score assigned for this data attribute.
Note on A17: Rights of use given to NEIWPCC and EPA, however rights also reserved for use by Michael Hoover and The On-Site Wastewater Corporation, Cary, NC
Note on D6: All values in this column are from the right hand column in spreadsheet #4.
Note on E6: All values in this column are from the right hand column in spreadsheet #5
Note on F6: All values in this column are from the right hand column in spreadsheet #6
Note on G6: All values in this column are from the right hand column in spreadsheet #7
Note on H6: All values in this column are from the right hand column in spreadsheet #8
Note on I6: All values in this column are from the right hand column in spreadsheet #9
Note on J6: All values in this column are from the right hand column in spreadsheet #10
Note on K6: All values in this column are from the right hand column in spreadsheet #11.

## 14-Data score compilation
Summary of data scores assigned by the expert panel for a particular study (eg measurement endpoint)
Decision Endpoint: “determine if pretreatment units will meet BOD5 and TSS concentrations of 30 mg/l in field systems in the long-term”.
Study # (measurement endpoint #):
Name of this particular research study or dataset (measurement endpoint):
Source for this research study or dataset:
Name of individual/organization submitting this study or dataset:
Study Type = A, B, C, D, E, F, G, H, I, or J:
-------------------------------------------- Scores assigned for data from this study ------------------------------------------
Evaluation of results from this specific study | Performance data | Flow data | Replication | Experimental control | Environmental conditions | O&M conducted | Third-party character | Peer-review character
Expert panel member #1 | enter data
Expert panel member #2
Expert panel member #3
Expert panel member #4
Expert panel member #5
Expert panel member #6
Expert panel member #7
Expert panel member #8
Expert panel member #9
Expert panel member #10
Expert panel summary | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Developed by the On-Site Wastewater Corporation and Michael T. Hoover for NEIWPCC.
Note on A9: An evaluation is made of the data submitted for this particular study or dataset for the decision endpoint at hand. Scores assigned for each of the eight data quality/quantity attributes. Scores range from 0.0 to 1.0 for each. A score of 1.0 is assigned if the data and study results from that particular study are well done for that data atribute and support the endpoint decision at hand. A score of 0.0 is assigned if the study was poorly conducted relative to that particular data attribute or the study results do not support the endpoint decision at hand.
Note on E9: Data score assigned to performance data (eg. BOD and TSS) for this particular study results based upon the system performance data collected and its comparability to the wastewater strength, mean, median, s.d, CV of quantitative performance, the comparability of the data model unit or system type tested to the technology proposed for use in the field and the comparability of the type of data (grab vs composite samples and time composite vs flow composite sampling) used in this dataset to the type of data that will be used in the field for assessing compliance.
Note on F9: Data score assigned for the flow data from this research study and its comparability to the flows that will be used for this technology in the field considering daily flow, monthly flow, peak flow, minimum and maximum flow, stress flow conditions, number of people or bedrooms and design flow tested in this stype of study.
Note on G9: Data score assigned based upon evaluation of the degree of replication used in this research study and whether the type of replication used was beneficial for predicting the real system performance in the field considering replication of study sites/systems in the study, number of systems studied, sample replication within sites/systems, replication of samples for QA/QC laboratory analyses for this type of study.
Note on H9: Data score assigned based upon the degree and extent of experimental control used during this research study and whether the extent of experimental control used in this study was beneficial for predicting the real system performance considering the degree of experimental control used to limit outside unrelated extraneous or environmental conditions that could influence performance and use of (1) either a standard or experimental control (2) a statistically significant designed comparison, (3) a QAPP, and (4) a certified lab in the study.
Note on I9: Data score assigned based upon the range of environmentqal conditions tested in this research study and the relativeness of that range of envirponmental conditions to those expected to infulence real system performance considering the range and appropriateness of climatic conditions tested, the soil conditions and landscape position conditions used at the study sites, and breadth of environmental conditions studied.
Note on J9: Data score assigned based upon the comparability of the system O&M provided during this research study to the extent of O&M that will be required in the field after a potential approval of the technology for real system use. In other words, how well did the study results show that the system functioned properly during the research study under O&M conditions similar to those that will be required once the technology is approved for use.
Note on K9: Data score assigned based upon the extent of third party independence of the research organization and principal investigators who conducted this study from the manufacturing company or other entity that will potentially benefit from the study results if a regulatory approval is issued.
Note on L9: Data score assigned for this study based upon the degree of peer review used in the research protocol and in the development of this research report as well as the publication outlet such as journal articles or other peer-reviewed publications vs scientific proceedings, governmental reports or manufacturer reports. In other words, the greater the extent of peer-review used in the study and its publication, the higher the score assigned for this data attribute.
Note on A1: These are the data scores assigned by expert panel members after reviewing the data submitted for each applicable study. A separate sheet is developed for each individual study (ie measurement endpoint).
Note on E20: Average data score for Performance Data evaluation for this study.
Note on E10: Enter data in this row from spreadsheet #3 for each expert panel member for each separate study. Do likewise for other rows.
Note on A22: Rights of use given to NEIWPCC and EPA, however rights also reserved for use by Michael Hoover and The On-Site Wastewater Corporation, Cary, NC

## 15-DSS calculation
Calculation of expert panel summary scores for all measurement endpoints (eg example uses 6 studies)
Decision Endpoint: “Determine if pretreatment units will meet BOD5 and TSS concentrations of 30 mg/l in field systems in the long-term”.
Study # (measurement endpoint #): | [7 empty] | 1
Name of this particular research study or dataset (measurement endpoint):
Source for this research study or dataset:
Name of individual/organization submitting this study or dataset:
Study Type = A, B, C, D, E, F, G, H, I, or J:
Study # (measurement endpoint #): | [7 empty] | 2
Name of this particular research study or dataset (measurement endpoint):
Source for this research study or dataset:
Name of individual/organization submitting this study or dataset:
Study Type = A, B, C, D, E, F, G, H, I, or J:
Study # (measurement endpoint #): | [7 empty] | 3
Name of this particular research study or dataset (measurement endpoint):
Source for this research study or dataset:
Name of individual/organization submitting this study or dataset:
Study Type = A, B, C, D, E, F, G, H, I, or J:
Study # (measurement endpoint #): | [7 empty] | 4
Name of this particular research study or dataset (measurement endpoint):
Source for this research study or dataset:
Name of individual/organization submitting this study or dataset:
Study Type = A, B, C, D, E, F, G, H, I, or J:
Study # (measurement endpoint #): | [7 empty] | 5
Name of this particular research study or dataset (measurement endpoint):
Source for this research study or dataset:
Name of individual/organization submitting this study or dataset:
Study Type = A, B, C, D, E, F, G, H, I, or J:
Study # (measurement endpoint #): | [7 empty] | 6
Name of this particular research study or dataset (measurement endpoint):
Source for this research study or dataset:
Name of individual/organization submitting this study or dataset:
Study Type = A, B, C, D, E, F, G, H, I, or J:
Expert panel summary evaluation of study type rankings (0.1 to 1.0), calculated relative data attribute weightings (0.0 to 8.0) and data assessment scores (0.0 to 1.0) for all studies and datasets relating to the decision endpoint.
Study (Measurement endpoint) # | Study type ranking | Performance data |  | Flow data |  | Replication |  | Experimental control |  | Environ. conditions |  | O&M conducted |  | Third-party character |  | Peer-review character
|  | Weight | Data score | Weight | Data score | Weight | Data score | Weight | Data score | Weight | Data score | Weight | Data score | Weight | Data score | Weight | Data score
Range1 | 0.1-1.0 | 0.0-8.0 | 0.0-1.0 | 0.0-8.0 | 0.0-1.0 | 0.0-8.0 | 0.0-1.0 | 0.0-8.0 | 0.0-1.0 | 0.0-8.0 | 0.0-1.0 | 0.0-8.0 | 0.0-1.0 | 0.0-8.0 | 0.0-1.0 | 0.0-8.0 | 0.0-1.0
Formula2 | A | B | C | B | C | B | C | B | C | B | C | B | C | B | C | B | C
1
2
3
4
5
6
1 - range of possible scores for that parameter
2- letter from formula in text used for calculations of total score
Calculated measurement endpoint scores for all studies and datasets
Measurement Endpoint Formula = Rank A x (Sum of (calculated weight B x data score C))
Study # | Sutdy type ranking | Performance data | Flow data | Replication | Experimental control | Environmental conditions | O&M conducted | Third-party character | Peer-review character | Calculated score for measurement endpoint
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Decision Endpoint Formula = Sum for all measurement endpoints (eg studies or datasets) of Rank A x (Sum of (calculated weight B x data score C))
Decision endpoint summary value based upon results from measurement endpoints | [9 empty] | 0
Developed by the On-Site Wastewater Corporation and Michael T. Hoover for NEIWPCC.
Note on A3: Expand or contract as needed depending upon the number of studies (measurement endpoints) used to assess the decision endpoint.
Note on A4: From spreadsheet #3
Note on A5: From spreadsheet #3
Note on A6: From spreadsheet #3
Note on A7: From spreadsheet #3
Note on E43: From spreadsheet #14 for each study.
Note on I43: From spreadsheet #14 for each study.
Note on G43: From spreadsheet #14 for each study.
Note on K43: From spreadsheet #14 for each study.
Note on O43: From spreadsheet #14 for each study.
Note on S43: From spreadsheet #14 for each study.
Note on D43: From spreadsheet #13 for the Study Type.
Note on F43: From spreadsheet #13 for the Study Type.
Note on H43: From spreadsheet #13 for the Study Type.
Note on J43: From spreadsheet #13 for the Study Type.
Note on L43: From spreadsheet #13 for the Study Type.
Note on N43: From spreadsheet #13 for the Study Type.
Note on P43: From spreadsheet #13 for the Study Type.
Note on R43: From spreadsheet #13 for the Study Type.
Note on Q43: From spreadsheet #14 for each study.
Note on B42: From spreadsheet #12
Note on B60: From spreadsheet #12
Note on D60: Calculated from above
Note on E60: Calculated from above
Note on I60: Calculated from above
Note on F60: Calculated from above
Note on K60: Calculated from above
Note on H60: Calculated from above
Note on G60: Calculated from above
Note on J60: Calculated from above
Note on L70: Sum of final scores for the measurement endpoints for all studies.
Note on L61: Ranking score times product of data weight and data score for each of the 8 data attributes for this one study.
Note on M43: From spreadsheet #14 for each study.
Note on A72: Rights of use given to NEIWPCC and EPA, however rights also reserved for use by Michael Hoover and The On-Site Wastewater Corporation, Cary, NC.